## Instruction Sheet
Power Factor Calculator User Guide
Purpose: | This spreadsheet calculates the potential energy and cost savings from correcting your facility's power factor by purchasing and installing capacitor banks. By entering relevant data about the facility's utility bills, the spreadsheet will generate results that display energy savings, cost savings,and the simple payback period for the project.
How to use the spreadsheet | 1 | Enter Required Data in Input Fields (highlighted in green): Populate the designated white cells in each section with information on your current utility bills.
| 2 | Review Summary Results: Refer to the Results section for an overview of key metrics, including annual energy savings, cost savings,and the simple payback period. This section provides a high-level assessment of the financial benefits of correcting the power factor.
| 3 | Analyze Detailed Comparisons: Utilize the Data Analysis and Results sections to examine detailed metrics, such as savings and implementation cost for varying power factors and amounts of capacitors.
| 4 | Consult Calculation Notes for Methodology: For a thorough understanding of the underlying calculations, refer to the Calculation Procedures and Notes section. This section contains variable definitions, assumptions, and formulas used in the analysis, offering valuable context and transparency.
Section Overview and Input Instructions
Data Analysis | Client Information | This section allows you to input general project details, such as the client name, location, and assessment date. While optional, this information helps maintain organized records for each assessment.
| Power Factor | Enter data about the facility’s utilities, including the mandated minimum power factor of the utility, the client's desired power factor, and the avoided cost of electrical demand.
| Monthly Utilities Section | Provide the power factor (assumed or given on the utility) and the demand charge from the facility's monthly utility bills.
Calculation Procedures and Notes | Variable Table | This table provides a comprehensive list of variables used in the analysis, along with units and descriptions for each. It serves as a reference to help users understand the specific parameters applied in each calculation.
| Notes | Provides additional information on factors affecting calculations. These notes offer context for interpreting results effectively.
| Formulas | Outlines the formulas used in calculating cost savings. This section allows users to understand the methodology used in the calculations for the spreadsheet.
Results |  | Summarizes calculated results for energy savings, and cost savings. It also provides a detailed breakdown of total implementation cost, and simple payback period for proposed capacitor installation.
Summary |  | Presents an overview of key outcomes, including total annual energy savings, implementation cost, and payback period.
This tool is based upon work supported by the U.S. Department of Energy’s Office of Manufacturing and Energy Supply Chains (MESC Award Number DE-MS0000022). The views expressed herein do not necessarily represent the views of the U.S. Department of Energy or the United States Government.
This tool was created to provide estimates of savings and costs that serve as helpful information. This tool does not guarantee that no variation will exist between the calculated costs and savings and real market costs and savings. The spreadsheet is distributed locked so as to avoid unintentional altering of formulas, but can be unlocked by selecting the "unprotect sheet" option under the review tab. There is no password.

## Power Factor
Power Factor Correction
| AR Code: | 2.3212.3
Information |  |  | Collected Data |  |  | Data Analysis
Enter client-specific information into white cells |  |  | Enter AR specific information into white cells |  |  | Energy consumption values are calculated below
Client Information (optional) |  |  | Month | Current Power Factor [-] | Current Billed Demand [kVA] | Current Actual Demand [kW] | Current Apparent Power [kVA] | Current Reactive Power [kVAR] | Desired Power Factor [-] | Actual Demand at Desired Power Factor [kW] | Apparent Power at Desired Power Factor [kVA] | Reactive Power at Desired Power Factor [kVAR] | Capacitance Required [kVAC] | Demand Savings [kVA]
IAC Assessment #: |  |  | Month 1
Client Name: |  |  | Month 2
Location: |  |  | Month 3
ZIP code: |  |  | Month 4
SIC: |  |  | Month 5
NAICS: |  |  | Month 6
Assessment Date: |  |  | Month 7
Month 8
Power Factor | Value | Units | Month 9
Client Desired Power Factor: |  | kW/kVA | Month 10
Utility Mandated Minimum Power Factor: |  | kW/kVA | Month 11
Avoided Cost of Electrical Demand: |  | $/kVA | Month 12
Installed Cost of Fixed kVAC: |  | $/kVAC | Monthly Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Installed Cost of Variable kVAC: |  | $/kVAC | Total Annual (Estimated) |  | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Summary |  |  | Calculation Procedure and Notes | [5 empty] | Cost Analysis
Savings, costs, and other variables are calculated below |  |  | Important information for clients, formulas, and tables used to calculate results | [5 empty] | Implementation cost and payback are calculated below
Calculated Variables | Value | Units | Variable Description |  | Variable | Value | Unit |  | Range of Possible Power Factors | Annual Cost Savings | Implementation Cost | Simple Payback Period
Annual Demand Savings | #DIV/0! | kVA | Actual Demand |  | DA | #DIV/0! | kW |  |  | #DIV/0! | 0 | #DIV/0!
Annual Cost Savings | #DIV/0! | $ | Billed Demand |  | DB | #DIV/0! | kW |  | 0.7 | #DIV/0! | 0 | #DIV/0!
|  |  | Demand Savings |  | DS | #DIV/0! | kW |  | 0.71 | #DIV/0! | 0 | #DIV/0!
Minimum Capacitance Needed | 0 | kVAC | Current Power Factor |  | PFC | #DIV/0! | - |  | 0.72 | #DIV/0! | 0 | #DIV/0!
Maximum Capacitance Needed | 0 | kVAC | Mandated Power Factor |  | PFM | 0 | - |  | 0.73 | #DIV/0! | 0 | #DIV/0!
Fixed Capacitance Needed | 0 | kVAC | Current Apparent Power |  | PA | #DIV/0! | kVA |  | 0.74 | #DIV/0! | 0 | #DIV/0!
Variable Capacitance Needed | 0 | kVAC | Current Reactive Power |  | PR | #DIV/0! | kVA |  | 0.75 | #DIV/0! | 0 | #DIV/0!
Implementation Cost | 0 | $ | [6 empty] | 0.76 | #DIV/0! | 0 | #DIV/0!
|  |  | Formulas | [5 empty] | 0.77 | #DIV/0! | 0 | #DIV/0!
Simple Payback | #DIV/0! | yrs | Actual Demand kW = (Billed demand kW) (Current PF / Mandated PF) | [5 empty] | 0.78 | #DIV/0! | 0 | #DIV/0!
Simple Payback | #DIV/0! | months | [6 empty] | 0.79 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.8 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.81 | #DIV/0! | 0 | #DIV/0!
|  |  | Demand Savings [kW] = Billed demand [kW] - Actual demand [kW] | [5 empty] | 0.82 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.83 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.84 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.85 | #DIV/0! | 0 | #DIV/0!
|  |  | Apparent Power [kVA] = Actual Demand [kW] / PF | [5 empty] | 0.86 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.87 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.88 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.89 | #DIV/0! | 0 | #DIV/0!
|  |  | Current Reactive Power [kVAR] = ((Apparent Demand [kVA])^2 - (Actual Demand [kW])^2 ))^0.5 | [5 empty] | 0.9 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.91 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.92 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.93 | #DIV/0! | 0 | #DIV/0!
[9 empty] | 0.94 | #DIV/0! | 0 | #DIV/0!
|  |  | Notes | [5 empty] | 0.95 | #DIV/0! | 0 | #DIV/0!
|  |  | Entergy GS Rate Tariff Mandates PF > 0.80 kW/kVA | [5 empty] | 0.96 | #DIV/0! | 0 | #DIV/0!
|  |  | Entergy Rate Tariff LGS mandates PF > 0.90 kW/kVA | [5 empty] | 0.97 | #DIV/0! | 0 | #DIV/0!
|  |  | Entergy Rate Tariff LIPS mandates PF > 0.90 kW/kVA | [5 empty] | 0.98 | #DIV/0! | 0 | #DIV/0!
|  |  | ERCOT region mandates PF > 0.95 kW/kVA | [5 empty] | 0.99 | #DIV/0! | 0 | #DIV/0!
|  |  | Centerpoint in Houston bills on kVA, and PF must be = 1.0 kW/kVA | [5 empty] | 1 | #DIV/0! | 0 | #DIV/0!
𝐷_𝐴=𝐷_𝑩 ((𝑃𝐹_𝐶)/(𝑃𝐹_𝑀 ))
𝐷_𝑆=𝐷_𝐵−𝐷_𝐴
𝑃_𝐴=𝐷_𝐴/(𝑃𝐹_𝑐 )
𝑃_𝑅=√(𝑃_𝐴^2−𝐷_𝐴^2 )
Note on M8: Formula: Actual Demand kW = (Billed demand kW) (Current PF / Mandated PF)
Note on N8: Formula: Apparent Demand [kVA] = Actual Demand [kW] / PF
Note on O8: Formula: Reactive Demand [kVAR] = ( (Apparent Demand [kVA])^2 - (Actual Demand [kW])^2 ) )^0.5
Note on Q8: Formula: Demand Savings [kW] = Billed demand [kW] - Actual demand [kW]

## Capacitor Options
Capacitor Options
List of common prices for capacitors are below
Capacitor type | Cost $/kVAC | Link | Date Last Updated
Fixed capacitance | 50 | MEEN 662 Coursework | 2025-02-07
Variable Capacitance | 70 | MEEN 662 Coursework | 2025-02-07